Annex B - Schedule of Rates
Pages 1 to 7 Extract

Fields captured only: Description | Price | Unit of Measurement

# 1. Manpower Provision

## Manpower Provision

Technician - 8am to 8pm | Price: $40 | Unit: per hour

Technician - 8pm to 8am | Price: $60 | Unit: per hour

Technician Day Shift | Price: $3,500 | Unit: per month

Technician Night Shift | Price: $4,200 | Unit: per month

Cleaning Supervisor - 8am to 8pm | Price: $20 | Unit: per hour

Cleaning Supervisor - Between 8pm to 8am | Price: $22 | Unit: per hour

Cleaning Supervisor Day Rate 8am to 6pm [Mon to Fri] 8am to 1pm [Saturday] | Price: $2,950 | Unit: per month

Cleaning Supervisor Night Rate 9pm to 7am [Mon to Fri] 1pm to 6pm [Saturday] | Price: $3,250 | Unit: per month

Cleaner - Between 7am to 7pm | Price: $13 | Unit: per hour

Cleaner - Between 7pm to 7am | Price: $15 | Unit: per hour

Cleaner Day Rate 8am to 6pm [Mon to Fri] 8am to 1pm [Saturday] | Price: $2,750 | Unit: per month

Cleaner Night Rate 9pm to 7am [Mon to Fri] 1pm to 6pm [Saturday] | Price: $3,100 | Unit: per month

# 2. Electrical Installation for Tenants' Premises, DB or Related Installation

## Single Phase

60A & below single phase | Price: 100.00 | Unit: per annum

Above 100A single phase | Price: 300.00 | Unit: per annum

## 3 Phase / High Tension

Professional Fee for Licensing 3 Phase - 100A | Price: $300.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 150A | Price: $300.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 200A | Price: $300.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 250A | Price: $500.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 300A | Price: $500.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 400A | Price: $500.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 500A | Price: $500.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 600A | Price: $500.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 700A | Price: $700.00 | Unit: per annum

Professional Fee for Licensing 3 Phase - 800A | Price: $700.00 | Unit: per annum

Professional Fee for Licensing High Tension - 1 MVA | Price: $1,000.00 | Unit: per annum

Professional Fee for Licensing High Tension - 2 MVA | Price: $1,000.00 | Unit: per annum

## CS3 Form Endorsement

Professionel Fee CS3 Endorsement (Below 100A) | Price: $200.00 | Unit: Per endorsement

Professionel Fee CS3 Endorsement (100A - 249A) | Price: $400.00 | Unit: Per endorsement

Professionel Fee CS3 Endorsement (250A - 499A) | Price: $600.00 | Unit: Per endorsement

Professionel Fee CS3 Endorsement (500A - 749A) | Price: $800.00 | Unit: Per endorsement

Professionel Fee CS3 Endorsement (750A - 999A) | Price: $1,000.00 | Unit: Per endorsement

Professionel Fee CS3 Endorsement (1000A & Above) | Price: $1,000.00 | Unit: Per endorsement

## Annual Shutdown and Servicing

LEW (Engineer Grade) after office hour - first 2 hour | Price: $2,000.00 | Unit: first 2 hours

LEW (Engineer Grade) after office hour - subseq hour | Price: $400.00 | Unit: per hour

# 3. Attendance to Licensing of Electrical Installation for Tenants' Premises, DB or Related Installation

## During Office Hours

LEW (Engineer Grade) during office hour - first 2 hour | Price: $600.00 | Unit: first 2 hours

LEW (Engineer Grade) during office hour - subseq hour | Price: $300.00 | Unit: per hour

LEW (Technician Grade) during office hour - first 2 hour | Price: $300.00 | Unit: first 2 hours

LEW (Technician Grade) during office hour - subseq hour | Price: $150.00 | Unit: per hour

## After Office Hours

LEW (Engineer Grade) after office hour - first 2 hour | Price: $800.00 | Unit: first 2 hours

LEW (Engineer Grade) after office hour - subseq hour | Price: $400.00 | Unit: per hour

LEW (Technician Grade) after office hour - first 2 hour | Price: $400.00 | Unit: first 2 hours

LEW (Technician Grade) after office hour - subseq hour | Price: $200.00 | Unit: per hour

# 4. Sanitary Parts

## Sanitary Parts

Installed Showy Rinser HDSH | Price: 8.58 | Unit: per no.

Installed Self Closing Tap | Price: 30.85 | Unit: per no.

Showy Lever Tap 2587-6278 | Price: 60.62 | Unit: per no.

Installed Lever Tap | Price: 54.78 | Unit: per no.

Long Neck Water Tap | Price: 20.68 | Unit: per no.

Installed UPVC Bottle Trap (1-1/2") | Price: 1.98 | Unit: per no.

UPVC Bottle Trap (1-1/4") | Price: 1.32 | Unit: per no.

Stainless steel 1-1/2" Waste Trap | Price: 17.05 | Unit: per no.

Stainless steel 1-1/4" Waste Trap | Price: 12.98 | Unit: per no.

SSTL Floor Trap 6x6 | Price: 6.60 | Unit: per no.

Mini Stop Valve 1/2" | Price: 2.50 | Unit: per no.

Installed Mini Stop Valve 1/4" M/F | Price: 2.50 | Unit: per no.

Installed Basin Flexible Hose 1/2" | Price: 3.08 | Unit: per no.

1/2" Flexible Hose (30cm) | Price: 1.93 | Unit: per no.

Basin Flexible Hose 1/4" | Price: 3.08 | Unit: per no.

Wash Basin Brass Waste Plug 1/4" | Price: 3.30 | Unit: per no.

Waste Plug | Price: 2.42 | Unit: per no.

Steel Basin Waste 1/2" | Price: 2.42 | Unit: per no.

Steel Basin Waste 1/4" | Price: 2.42 | Unit: per no.

Installed Sensor Hand Dryer | Price: 264.00 | Unit: per no.

Toilet Seat Cover (White) | Price: 6.05 | Unit: per no.

Toilet Seat Cover (Blue) | Price: 6.05 | Unit: per no.

Toto Toilet Seat Cover (Pink, Blue) | Price: 126.50 | Unit: per no.

Toilet Seat Cover (Maroon) | Price: 6.05 | Unit: per no.

Toilet Seat Cover (Beige) | Price: 6.05 | Unit: per no.

Solenoid Valve | Price: 91.08 | Unit: per no.

WC Piston | Price: 132.00 | Unit: per no.

Replaced Urinal Solenoid Valve (Tamp) | Price: 71.50 | Unit: per no.

Replaced Urinal sensor eye (Tamp) | Price: 115.50 | Unit: per no.

Replaced WC sensor eye (Tamp) | Price: 189.00 | Unit: per no.

Replaced WC Solenoid Valve (Tamp) | Price: 74.80 | Unit: per no.

Replaced TOTO WC Auto Flushing Set (Bishan) | Price: 1,375.00 | Unit: per no.

Replaced TOTO WC Sensor Eye (Bishan) | Price: 504.00 | Unit: per no.

Replaced ECO WC Sensor Eye (Bishan) | Price: 176.00 | Unit: per no.

Replaced TOTO Urinal sensor Eye (Jurong) | Price: 456.00 | Unit: per no.

Replaced TOTO WC sensor Eye (Jurong) | Price: 675.00 | Unit: per no.

Replaced TOTO Urinal Sensor Eye (Bishan) | Price: 486.00 | Unit: per no.

Replaced WC PISTON | Price: 103.95 | Unit: per no.

Delivered TOTO Urinal Flush Valve | Price: 190.80 | Unit: per no.

Supply and replaced Toilet Basin | Price: 429.00 | Unit: per no.

Replaced Soap Dispensers | Price: 29.70 | Unit: per no.

PVC pipe 3" x 20" | Price: 20.02 | Unit: Length

PVC 90 Degree Elbow | Price: 14.74 | Unit: per no.

Showy Aerators & Adaptors 6009 | Price: 9.90 | Unit: per no.

Urinal Bracket & Gasket | Price: 80.00 | Unit: per no.

Flush Button System | Price: 224.00 | Unit: Set

Deck-mounted self-closing tap | Price: 94.24 | Unit: per no.

Flush spring & valve | Price: 176.00 | Unit: Set

Urinal Electronic Sensor Module | Price: 118.72 | Unit: per no.

Flush Button | Price: 80.00 | Unit: per no.

Piston | Price: 60.00 | Unit: per no.

Lubben Urinal Valve | Price: 82.39 | Unit: per no.

Flush button contactor | Price: 60.00 | Unit: per no.

Flush Plate Cover | Price: 93.00 | Unit: per no.

TOTO Button | Price: 67.50 | Unit: per no.

5 ft copper piping (1/2") | Price: 24.75 | Unit: per no.

10 ft copper piping (3/4") | Price: 24.75 | Unit: per no.

1/2" copper fitting | Price: 1.43 | Unit: per no.

3/4" Elbow fitting | Price: 2.64 | Unit: per no.

3/4" copper fitting | Price: 2.20 | Unit: per no.

Adaptor | Price: 23.85 | Unit: per no.

Tap Hole Stopper (Sink Hole Covers) | Price: 18.00 | Unit: per no.

Steel Plug | Price: 52.95 | Unit: per no.

Faucet Hole Cover | Price: 18.00 | Unit: per no.

TOTO 3C Urinal Flushing System | Price: 180.00 | Unit: Set

Johnson Suisse toilet seat cover | Price: 84.00 | Unit: per no.

Electronic module c / sensor eye | Price: 112.50 | Unit: per no.

Provision of paper hand towel dispenser for toilets | Price: 21.00 | Unit: per no.

Provision of paper hand towel for dispenser | Price: 26.25 | Unit: per pack

Provision of Jumbo roll toilet paper dispenser for toilets | Price: 26.25 | Unit: per no.

Provision of Jumbo roll toilet paper for dispenser | Price: 1.68 | Unit: per pack

Provision of air freshener service for toilets | Price: 4.20 | Unit: per month

Duravit D-code toilet seat cover L450 x W365mm | Price: 110.00 | Unit: per no.

Contactless hand soap dispenser, Model: AHSS-800, 800ml capacity, liquid type | Price: 58.00 | Unit: per no.

Manual toilet seat cleaner dispenser, Model: TSC-550, Foam type, 400ml capacity | Price: 20.00 | Unit: per no.

Activation of plumbing company to clear chokage | Price: 150.00 | Unit: per hour

Irrigation pump for vertitcal green wall | Price: 490.00 | Unit: per no.

# 5. Building Parts

## Building Parts

Replaced Armstrong Flap Lock | Price: 6.60 | Unit: per no.

Replaced Rotating Bar Lockset | Price: 12.60 | Unit: per no.

Replaced Cam Lock 16MM | Price: 6.67 | Unit: per no.

Replaced Cam Lock 30MM | Price: 13.20 | Unit: per no.

Replaced Latch Door Lock | Price: 7.80 | Unit: per no.

Replaced D19mm L30mm lock | Price: 3.18 | Unit: per no.

Replaced Armstrong Front Lock | Price: 13.75 | Unit: per no.

Replaced Pad Lock (Small) | Price: 4.07 | Unit: per no.

Replaced Armstrong Round Lockset | Price: 7.56 | Unit: per no.

Replaced Pull Door Handle | Price: 16.38 | Unit: per no.

Replaced Door Closer TS73V | Price: 113.40 | Unit: per no.

Replaced Door Closer TS831 | Price: 198.00 | Unit: per no.

Replaced Door Closer (NN Brand) | Price: 198.00 | Unit: per no.

Replaced Door Closer Bracket | Price: 5.50 | Unit: per no.

Supplied Gray Cement | Price: 8.16 | Unit: pack

Replaced Door Hinge Cabinet | Price: 68.75 | Unit: per no.

Replaced Gent's Door Cylinder | Price: 19.80 | Unit: per no.

Replaced Ladies Door Cylinder | Price: 19.80 | Unit: per no.

Replaced handle For Lock Sets | Price: 55.00 | Unit: per no.

Castor Wheel 1 inch (box of 4) | Price: 1.92 | Unit: per no.

Castor Wheel 2 inch (box of 4) | Price: 4.20 | Unit: per no.

Castor Wheel Hard Plastic Type, 4" | Price: 5.70 | Unit: per no.

SS 125mm Butt Door Hinges-Single | Price: 72.80 | Unit: per no.

SS 125mm Butt Door Hinges-Double | Price: 109.20 | Unit: per no.